## ATC_Loss_5_to_10_pct
# | Discom | Zone | Circle | Division | Substation | Feeder | Project Area | Feeder Nature | Input Energy (MU) | Sold Energy (MU) | Assessment (Cr) | Realization (Cr) | Billing Eff (%) | Collection Eff (%) | Line Loss (%) | AT&C Loss (%) | Line Slab | AT&C Slab | ABR (₹/kWh) | Consumers | Throughput Rate (₹/kWh) | AT&C Loss Value (Cr) | Loss Per Unit (₹) | Is PTW
1 | PASCHIMANCHAL | NOIDA | EUDC I NOIDA | EUDD V NOIDA | SECTOR 11_10262 | FEEDER NO 8_14101730262F08 | URBAN | OTHER | 3.345 | 3.164 | 2.788 | 2.712 | 94.62% | 97.27% | 5.38% | 7.97% | 5% to 10% | 5% to 10% | 8.81 | 418 | 8.11 | 0.235 | 0.7 | 0
2 | PASCHIMANCHAL | NOIDA | EUDC I NOIDA | EUDD V NOIDA | SECTOR 108 OLD_10084 | FEEDER NO 6_14101710084F06 | URBAN | OTHER | 8.178 | 7.769 | 5.92 | 5.61 | 95.00% | 94.76% | 5.00% | 9.97% | 0% to 5% | 5% to 10% | 7.62 | 1812 | 6.86 | 0.622 | 0.76 | 0
3 | PASCHIMANCHAL | NOIDA | EUDC I NOIDA | EUDD V NOIDA | SECTOR 3_11372 | FEEDER NO 4_14101721372FD4 | URBAN | OTHER | 4.012 | 3.679 | 5.524 | 5.524 | 91.68% | 100.01% | 8.32% | 8.31% | 5% to 10% | 5% to 10% | 15.02 | 108 | 13.77 | 0.233 | 0.58 | 0
4 | DAKSHINANCHAL | KANPUR I | EDC KANPUR | EDD II CHAUBEYPUR | SHIVRAJPUR IPDS_24858 | JAGDISPUR_22331334858JAG | URBAN | INDUSTRIAL ABOVE 75% | 4.761 | 3.94 | 3.845 | 4.282 | 82.76% | 111.39% | 17.24% | 7.81% | 10% to 20% | 5% to 10% | 9.76 | 17 | 9 | 0.363 | 0.76 | 0
5 | DAKSHINANCHAL | KANPUR II | EDC ETAWAH | EDD I ETAWAH | FRIENDS COLONY - 2_20157 | SHYAM NAGAR_22303130157SMN | URBAN | OTHER | 5.758 | 5.6 | 4.691 | 4.578 | 97.26% | 97.60% | 2.74% | 5.07% | 0% to 5% | 5% to 10% | 8.38 | 3753 | 7.95 | 0.245 | 0.42 | 0
6 | DAKSHINANCHAL | KANPUR II | EDC ETAWAH | EDD II ETAWAH | BAKEBER 2_22087 | BAKEBER TOWN_22303332087TWN | TEHSIL | OTHER | 2.289 | 2.203 | 1.662 | 1.596 | 96.23% | 96.01% | 3.77% | 7.61% | 0% to 5% | 5% to 10% | 7.55 | 1590 | 6.97 | 0.131 | 0.57 | 0
7 | DAKSHINANCHAL | KANPUR II | EDC KANNAUJ | EDD KANNAUJ | MAKRAND NAGAR_20087 | COLD_22294130087COL | RURAL | INDUSTRIAL ABOVE 75% | 8.147 | 7.213 | 7.408 | 7.732 | 88.54% | 104.37% | 11.46% | 7.59% | 10% to 20% | 5% to 10% | 10.27 | 70 | 9.49 | 0.635 | 0.78 | 0
8 | DAKSHINANCHAL | JHANSI | EUDC JHANSI | EUDD I JHANSI | JAIL CHOWRAHA_20051 | JHANSI SECOND_23351110051JSE | URBAN | OTHER | 2.082 | 2.004 | 1.975 | 1.902 | 96.23% | 96.33% | 3.77% | 7.29% | 0% to 5% | 5% to 10% | 9.86 | 644 | 9.14 | 0.15 | 0.72 | 0
9 | DAKSHINANCHAL | JHANSI | EUDC JHANSI | EUDD I JHANSI | SUTI MILL_20055 | INDUSTRIAL 2_23351130055IN2 | URBAN | OTHER | 2.201 | 1.556 | 1.534 | 2.046 | 70.71% | 133.39% | 29.29% | 5.68% | 20% to 30% | 5% to 10% | 9.85 | 38 | 9.29 | 0.123 | 0.56 | 0
10 | DAKSHINANCHAL | JHANSI | EUDC JHANSI | EUDD II JHANSI | MEDICAL_20054 | ANSAL COLONY_23351220054ACL | URBAN | OTHER | 0.924 | 0.886 | 0.72 | 0.68 | 95.93% | 94.43% | 4.07% | 9.42% | 0% to 5% | 5% to 10% | 8.12 | 494 | 7.36 | 0.071 | 0.76 | 0
11 | DAKSHINANCHAL | JHANSI | EDC LALITPUR | EDD II LALITPUR | BIRDHA_24399 | SWASTIK FOODS_23374234399SWF | RURAL | INDEPENDENT | 0.232 | 0.188 | 0.245 | 0.281 | 81.05% | 114.34% | 18.95% | 7.32% | 10% to 20% | 5% to 10% | 13.07 | 1 | 12.11 | 0.022 | 0.96 | 0
12 | DAKSHINANCHAL | AGRA | EDC AGRA | EDD I AGRA | PAWAWALI_24765 | TRUCKPURA_26154134765TKP | RURAL | INDUSTRIAL ABOVE 75% | 0.396 | 0.351 | 0.397 | 0.409 | 88.68% | 103.07% | 11.32% | 8.59% | 10% to 20% | 5% to 10% | 11.31 | 3 | 10.34 | 0.038 | 0.97 | 0
13 | DAKSHINANCHAL | AGRA | EDC FATEHABAD | EDD III AGRA | NARIPURA_24707 | COLD FEEDER_25151324707COL | RURAL | INDUSTRIAL ABOVE 75% | 2.253 | 1.875 | 2.067 | 2.281 | 83.23% | 110.31% | 16.77% | 8.20% | 10% to 20% | 5% to 10% | 11.03 | 9 | 10.12 | 0.204 | 0.9 | 0
14 | DAKSHINANCHAL | AGRA | EDC AGRA | EDD KHERAGARH | AYELA_24320 | NATURE CARE_26154314320NTC | RURAL | INDEPENDENT | 0.327 | 0.307 | 0.289 | 0.289 | 93.77% | 99.83% | 6.23% | 6.39% | 5% to 10% | 5% to 10% | 9.42 | 1 | 8.82 | 0.02 | 0.6 | 0
15 | DAKSHINANCHAL | FIROZABAD | EUDC FIROZABAD | EUDD I FIROZABAD | INDUSTRIAL ESATE_20038 | JAIN NAGAR_25164110038JNN | URBAN | MIXED ABOVE 50% | 4.651 | 4.422 | 3.723 | 3.542 | 95.09% | 95.14% | 4.91% | 9.54% | 0% to 5% | 5% to 10% | 8.42 | 1775 | 7.62 | 0.373 | 0.8 | 0
16 | DAKSHINANCHAL | FIROZABAD | EDC FIROZABAD | EDD SHIRSAGANJ | SARAI LUKMAN_24834 | ETAWAH ROAD_25163424834ETR | RURAL | INDUSTRIAL ABOVE 75% | 6.52 | 5.744 | 6.112 | 6.26 | 88.10% | 102.41% | 11.90% | 9.77% | 10% to 20% | 5% to 10% | 10.64 | 67 | 9.6 | 0.678 | 1.04 | 0
17 | DAKSHINANCHAL | MATHURA | EDC I MATHURA | EDD I MATHURA | AURANGABAD_20142 | GAUSHALA_26142110142GSL | RURAL | OTHER | 5.715 | 5.569 | 5.598 | 5.292 | 97.44% | 94.54% | 2.56% | 7.88% | 0% to 5% | 5% to 10% | 10.05 | 3157 | 9.26 | 0.453 | 0.79 | 0
18 | DAKSHINANCHAL | MATHURA | EUDC MATHURA | EUDD I MATHURA | MATHURA CANTT_20144 | MAYUR VIHAR_26141110144MYV | URBAN | OTHER | 8.764 | 8.008 | 7.663 | 7.556 | 91.37% | 98.60% | 8.63% | 9.90% | 5% to 10% | 5% to 10% | 9.57 | 2132 | 8.62 | 0.83 | 0.95 | 0
19 | DAKSHINANCHAL | MATHURA | EUDC MATHURA | EUDD II MATHURA | CHAITANYA VIHAR_20075 | BARAH GHAT_26141210075BAR | URBAN | OTHER | 6.944 | 6.524 | 7.069 | 7.019 | 93.94% | 99.29% | 6.06% | 6.73% | 5% to 10% | 5% to 10% | 10.84 | 1182 | 10.11 | 0.506 | 0.73 | 0
20 | DAKSHINANCHAL | MATHURA | EUDC MATHURA | EUDD III MATHURA | MASANI_20149 | GOVIND NAGAR_26141330149GVG | URBAN | OTHER | 7.201 | 7.006 | 5.664 | 5.43 | 97.29% | 95.86% | 2.71% | 6.74% | 0% to 5% | 5% to 10% | 8.08 | 2434 | 7.54 | 0.392 | 0.54 | 0
21 | DAKSHINANCHAL | MATHURA | EUDC MATHURA | EUDD III MATHURA | MASANI_20149 | DEENG GATE_26141330149DGG | URBAN | OTHER | 7.716 | 6.919 | 5.719 | 5.77 | 89.67% | 100.90% | 10.33% | 9.53% | 10% to 20% | 5% to 10% | 8.27 | 3117 | 7.48 | 0.608 | 0.79 | 0
22 | DAKSHINANCHAL | MATHURA | EUDC MATHURA | EUDD III MATHURA | GANESHARA_22815 | HANSRAJ NAGAR_26141332815HSN | URBAN | OTHER | 3.266 | 3.265 | 2.559 | 2.305 | 99.97% | 90.06% | 0.03% | 9.97% | 0% to 5% | 5% to 10% | 7.84 | 2109 | 7.06 | 0.255 | 0.78 | 0
23 | DAKSHINANCHAL | AGRA | EDC FATEHABAD | EDD ETMADPUR | MUDI CHOARAH_24678 | COLD_25151224678COL | RURAL | INDUSTRIAL ABOVE 75% | 4.96 | 4.607 | 5.328 | 5.289 | 92.87% | 99.26% | 7.13% | 7.82% | 5% to 10% | 5% to 10% | 11.57 | 44 | 10.66 | 0.449 | 0.9 | 0
24 | DAKSHINANCHAL | BANDA | EDC BANDA | EDD BANDA | JASPURA_24547 | BAREHTA_24391234547BAR | RURAL | OTHER | 3.27 | 2.356 | 1.45 | 1.856 | 72.03% | 128.05% | 27.97% | 7.76% | 20% to 30% | 5% to 10% | 6.15 | 2803 | 5.68 | 0.156 | 0.48 | 0
25 | DAKSHINANCHAL | ALIGARH | EDC I ALIGARH | EDD I ALIGARH | GABHANA TOWN_24476 | RAMPUR_21124114476RMP | TEHSIL | MIXED ABOVE 50% | 3.269 | 3.223 | 2.952 | 2.745 | 98.61% | 92.99% | 1.39% | 8.30% | 0% to 5% | 5% to 10% | 9.16 | 2095 | 8.4 | 0.249 | 0.76 | 0
26 | DAKSHINANCHAL | ALIGARH | EDC I ALIGARH | EDD II ALIGARH | CHANDOLA SUJANPUR_24421 | COLD_21124224421COL | RURAL | INDEPENDENT | 0.23 | 0.207 | 0.228 | 0.228 | 90.12% | 99.91% | 9.88% | 9.96% | 5% to 10% | 5% to 10% | 11 | 1 | 9.91 | 0.025 | 1.1 | 0
27 | DAKSHINANCHAL | ALIGARH | EDC I ALIGARH | EDD II ALIGARH | SINGHPUR_24868 | COLD FEEDER_21124224868CLF | RURAL | INDEPENDENT | 0.298 | 0.28 | 0.295 | 0.296 | 94.19% | 100.24% | 5.81% | 5.59% | 5% to 10% | 5% to 10% | 10.53 | 1 | 9.94 | 0.018 | 0.59 | 0
28 | DAKSHINANCHAL | ALIGARH | EDC II ALIGARH | EDD IV IGLAS | BEENUPUR_24368 | COLD STORAGE_21126124368COL | RURAL | INDEPENDENT | 0.395 | 0.374 | 0.393 | 0.383 | 94.81% | 97.43% | 5.19% | 7.62% | 5% to 10% | 5% to 10% | 10.5 | 1 | 9.7 | 0.032 | 0.8 | 0
29 | DAKSHINANCHAL | ALIGARH | EDC II ALIGARH | EDD IV IGLAS | SUBSTATION IGLAS_22308 | AR COLD_21126112308MAL | RURAL | INDUSTRIAL ABOVE 75% | 6.145 | 4.909 | 5.227 | 6.183 | 79.89% | 118.29% | 20.11% | 5.50% | 20% to 30% | 5% to 10% | 10.65 | 22 | 10.06 | 0.36 | 0.59 | 0
30 | DAKSHINANCHAL | ALIGARH | EDC II ALIGARH | EDD IV IGLAS | USRAM_24919 | SUMITRA DEVI COLD_21126134919SDC | RURAL | INDEPENDENT | 0.322 | 0.307 | 0.319 | 0.31 | 95.34% | 97.21% | 4.66% | 7.33% | 0% to 5% | 5% to 10% | 10.39 | 1 | 9.63 | 0.024 | 0.76 | 0
31 | DAKSHINANCHAL | ETAH | EDC HATHRAS | EDD I HATHRAS | HATHRAS TOWN_20025 | BALAPATTI_21132110025BLP | URBAN | OTHER | 0.969 | 0.964 | 0.845 | 0.785 | 99.42% | 92.93% | 0.58% | 7.60% | 0% to 5% | 5% to 10% | 8.77 | 806 | 8.1 | 0.065 | 0.67 | 0
32 | DAKSHINANCHAL | ETAH | EDC HATHRAS | EDD I HATHRAS | PRAGTI PURAM_20139 | NEW INDUSTRIAL _21132110139NID | URBAN | INDUSTRIAL ABOVE 75% | 4.312 | 3.476 | 3.508 | 3.977 | 80.61% | 113.36% | 19.39% | 8.62% | 10% to 20% | 5% to 10% | 10.09 | 85 | 9.22 | 0.375 | 0.87 | 0
33 | DAKSHINANCHAL | ETAH | EDC HATHRAS | EDD III HATHRAS | SASNI_22699 | INDUSTRIAL AGRA ROAD_21132322699IAR | RURAL | MIXED ABOVE 50% | 3.972 | 3.765 | 4.583 | 4.512 | 94.80% | 98.45% | 5.20% | 6.68% | 5% to 10% | 5% to 10% | 12.17 | 22 | 11.36 | 0.323 | 0.81 | 0
34 | DAKSHINANCHAL | ETAH | EDC ETAH | EUDD ETAH | GAGANPUR URBAN_20167 | HINDUSTAN LEVER_21703120167HND | URBAN | INDEPENDENT | 1.323 | 1.076 | 1.193 | 1.38 | 81.34% | 115.67% | 18.66% | 5.91% | 10% to 20% | 5% to 10% | 11.09 | 1 | 10.43 | 0.087 | 0.66 | 0
35 | DAKSHINANCHAL | ALIGARH | EDC II ALIGARH | EDD V ALIGARH | JATTARI RURAL_24551 | COLD_21126224551COL | RURAL | INDEPENDENT | 0.255 | 0.23 | 0.251 | 0.251 | 90.18% | 99.88% | 9.82% | 9.93% | 5% to 10% | 5% to 10% | 10.93 | 1 | 9.84 | 0.028 | 1.09 | 0
36 | DAKSHINANCHAL | ALIGARH | EDC II ALIGARH | EDD VI ALIGARH | AKARABAD_22028 | COLD STORE_21126312028THL | RURAL | INDEPENDENT | 0.288 | 0.261 | 0.28 | 0.28 | 90.56% | 99.96% | 9.44% | 9.48% | 5% to 10% | 5% to 10% | 10.74 | 1 | 9.73 | 0.029 | 1.02 | 0
37 | POORVANCHAL | PRAYAGRAJ II | EDC FATEHPUR | EDD I FATEHPUR | SAURA_444131 | INDUSTRIAL III_44413130290IN3 | RURAL | INDUSTRIAL ABOVE 75% | 1.373 | 1.103 | 1.369 | 1.595 | 80.33% | 116.50% | 19.67% | 6.42% | 10% to 20% | 5% to 10% | 12.42 | 11 | 11.62 | 0.109 | 0.8 | 0
38 | POORVANCHAL | PRAYAGRAJ II | EDC PRATAPGARH | EDD I PRATAPGARH | DHALA MAU_40122 | DIST HOSPITAL_44421110122ASP | URBAN | MIXED ABOVE 50% | 0.448 | 0.415 | 0.853 | 0.85 | 92.61% | 99.73% | 7.39% | 7.64% | 5% to 10% | 5% to 10% | 20.54 | 16 | 18.98 | 0.024 | 0.53 | 0
39 | POORVANCHAL | PRAYAGRAJ I | EUDC II PRAYAGRAJ | EUDD MAYOHALL | WEST END_40064 | SOUTH ROAD_44442310064SRD | URBAN | OTHER | 5.128 | 4.891 | 5.374 | 5.277 | 95.38% | 98.19% | 4.62% | 6.35% | 0% to 5% | 5% to 10% | 10.99 | 821 | 10.29 | 0.358 | 0.7 | 0
40 | POORVANCHAL | PRAYAGRAJ I | EUDC II PRAYAGRAJ | EUDD MAYOHALL | WEST END_40064 | AIR_44442310064AIR | URBAN | OTHER | 2.618 | 2.57 | 2.472 | 2.337 | 98.19% | 94.56% | 1.81% | 7.16% | 0% to 5% | 5% to 10% | 9.62 | 854 | 8.93 | 0.18 | 0.69 | 0
41 | POORVANCHAL | PRAYAGRAJ I | EUDC II PRAYAGRAJ | EUDD MAYOHALL | NEW MAYO HALL_44093 | REGENCY_44442324093RGN | URBAN | OTHER | 0.566 | 0.516 | 0.807 | 0.807 | 91.06% | 100.00% | 8.94% | 8.94% | 5% to 10% | 5% to 10% | 15.64 | 1 | 14.24 | 0.035 | 0.63 | 0
42 | POORVANCHAL | PRAYAGRAJ I | EUDC II PRAYAGRAJ | EUDD MAYOHALL | NEW BAILEY_41311 | 24 COURT_44442311311CRT | URBAN | OTHER | 0.329 | 0.299 | 0.545 | 0.545 | 90.77% | 100.00% | 9.23% | 9.23% | 5% to 10% | 5% to 10% | 18.25 | 3 | 16.57 | 0.021 | 0.65 | 0
43 | POORVANCHAL | PRAYAGRAJ I | EUDC I PRAYAGRAJ | EUDD KALYANI DEVI | POWER HOUSE_40067 | RAILWAY PUMP HOUSE_44441130067RAL | URBAN | INDEPENDENT | 0.814 | 0.797 | 0.623 | 0.602 | 97.96% | 96.58% | 2.04% | 5.39% | 0% to 5% | 5% to 10% | 7.81 | 1 | 7.39 | 0.034 | 0.42 | 0
44 | POORVANCHAL | PRAYAGRAJ I | EUDC I PRAYAGRAJ | EUDD NAINI | COTTON MILL_40041 | DOUD NAGAR_44441220041DNR | URBAN | MIXED ABOVE 25% | 5.242 | 5.235 | 4.784 | 4.532 | 99.86% | 94.72% | 0.14% | 5.42% | 0% to 5% | 5% to 10% | 9.14 | 1942 | 8.64 | 0.26 | 0.5 | 0
45 | POORVANCHAL | PRAYAGRAJ I | EUDC I PRAYAGRAJ | EUDD NAINI | ARAIL_40515 | GANGA PRADUSHAN_44441240515GPD | URBAN | MIXED ABOVE 25% | 0.518 | 0.483 | 0.734 | 0.734 | 93.13% | 99.99% | 6.87% | 6.88% | 5% to 10% | 5% to 10% | 15.2 | 3 | 14.15 | 0.025 | 0.48 | 0
46 | POORVANCHAL | PRAYAGRAJ I | EUDC I PRAYAGRAJ | EUDD NAINI | USTAPUR MUMDABAD_40187 | GANGA PRADUSHAN_44441230187GPD | URBAN | MIXED ABOVE 25% | 0.408 | 0.386 | 0.498 | 0.497 | 94.63% | 99.76% | 5.37% | 5.60% | 5% to 10% | 5% to 10% | 12.91 | 4 | 12.18 | 0.029 | 0.72 | 0
47 | POORVANCHAL | PRAYAGRAJ I | EUDC II PRAYAGRAJ | EUDD BAMRAULI | KASARI MASARI_40075 | KALINDRI PURAM_44442430075KPM | URBAN | OTHER | 4.776 | 3.045 | 2.244 | 3.17 | 63.76% | 141.26% | 36.24% | 9.94% | 30% to 50% | 5% to 10% | 7.37 | 1492 | 6.64 | 0.35 | 0.73 | 0
48 | POORVANCHAL | PRAYAGRAJ I | EUDC II PRAYAGRAJ | EUDD TAGORE TOWN | TAGORE TOWN_40055 | FORT ROAD_44442210055FRT | URBAN | OTHER | 3.881 | 3.594 | 3.572 | 3.513 | 92.61% | 98.35% | 7.39% | 8.92% | 5% to 10% | 5% to 10% | 9.94 | 694 | 9.05 | 0.344 | 0.89 | 0
49 | POORVANCHAL | PRAYAGRAJ I | EUDC II PRAYAGRAJ | EUDD TAGORE TOWN | TAGORE TOWN_40055 | SANIYAL_44442210055SAN | URBAN | OTHER | 3.218 | 2.948 | 2.498 | 2.561 | 91.59% | 102.55% | 8.41% | 6.07% | 5% to 10% | 5% to 10% | 8.47 | 735 | 7.96 | 0.165 | 0.51 | 0
50 | POORVANCHAL | PRAYAGRAJ I | EUDC II PRAYAGRAJ | EUDD TAGORE TOWN | UNIVERSITY_40059 | SWARAJ BHAWAN_44442220059SWB | URBAN | OTHER | 8.429 | 7.753 | 8.131 | 8.204 | 91.98% | 100.90% | 8.02% | 7.20% | 5% to 10% | 5% to 10% | 10.49 | 1634 | 9.73 | 0.636 | 0.75 | 0
51 | POORVANCHAL | GORAKHPUR II | EDC MAHRAJGANJ | EDD ANAND NAGAR | PANIYARA_435611 | COLD STORAGE_43271310840COL | RURAL | INDEPENDENT | 0.169 | 0.159 | 0.187 | 0.188 | 93.91% | 100.64% | 6.09% | 5.49% | 5% to 10% | 5% to 10% | 11.76 | 6 | 11.12 | 0.011 | 0.65 | 0
52 | POORVANCHAL | GORAKHPUR I | EDC II GORAKHPUR | EDD KAURIRAM | BADHALGANJ_435721 | COLD STORAGE_43573220902COL | TEHSIL | INDEPENDENT | 0.384 | 0.292 | 0.273 | 0.33 | 76.01% | 121.13% | 23.99% | 7.92% | 20% to 30% | 5% to 10% | 9.33 | 5 | 8.59 | 0.028 | 0.74 | 0
53 | POORVANCHAL | GORAKHPUR II | EDC KUSHINAGAR | EDD KASYA | KASIA TEHSIL_435813 | AIRPORT_43594210884AIR | URBAN | INDEPENDENT | 0.492 | 0.462 | 0.327 | 0.327 | 93.78% | 99.97% | 6.22% | 6.25% | 5% to 10% | 5% to 10% | 7.09 | 2 | 6.65 | 0.022 | 0.44 | 0
54 | POORVANCHAL | GORAKHPUR II | EDC KUSHINAGAR | EDD PADRAUNA | PADRAUNA_40143 | JILA UDHYOG_43593310143ZIL | URBAN | MIXED ABOVE 50% | 1.023 | 0.824 | 1.019 | 1.178 | 80.58% | 115.66% | 19.42% | 6.80% | 10% to 20% | 5% to 10% | 12.36 | 85 | 11.52 | 0.086 | 0.84 | 0
55 | POORVANCHAL | GORAKHPUR I | EUDC GORAKHPUR | EUDD I TOWN HALL | RUSTAMPUR_40125 | TOWNHALL_43571110125TOW | URBAN | OTHER | 5.807 | 5.738 | 4.856 | 4.616 | 98.81% | 95.05% | 1.19% | 6.08% | 0% to 5% | 5% to 10% | 8.46 | 1592 | 7.95 | 0.299 | 0.51 | 0
56 | POORVANCHAL | GORAKHPUR I | EUDC GORAKHPUR | EUDD I TOWN HALL | DHARAMSHALA_44042 | WORKSHOP_43571314042WRK | URBAN | OTHER | 0.093 | 0.083 | 0.083 | 0.086 | 89.09% | 103.48% | 10.91% | 7.81% | 10% to 20% | 5% to 10% | 10.01 | 5 | 9.23 | 0.007 | 0.78 | 0
57 | POORVANCHAL | VARANASI I | EUDC I VARANASI | EUDD I BHELUPUR | SHANKUL DHARA_40023 | BIRDOPUR_41431110023BRD | URBAN | OTHER | 6.226 | 5.976 | 5.057 | 4.816 | 95.98% | 95.24% | 4.02% | 8.59% | 0% to 5% | 5% to 10% | 8.46 | 1613 | 7.74 | 0.453 | 0.73 | 0
58 | POORVANCHAL | VARANASI I | EUDC I VARANASI | EUDD I BHELUPUR | BHADAINI_40002 | DASHASHWAMEDH-3_41431420002DMW | URBAN | OTHER | 4.631 | 4.462 | 3.96 | 3.874 | 96.35% | 97.83% | 3.65% | 5.73% | 0% to 5% | 5% to 10% | 8.87 | 1217 | 8.37 | 0.236 | 0.51 | 0
59 | POORVANCHAL | VARANASI I | EUDC I VARANASI | EUDD II CHOKAGHAT | CHAUKAGHAT_40007 | CHITRAKUT_41431210007CK1 | URBAN | OTHER | 4.372 | 4.08 | 3.72 | 3.646 | 93.31% | 98.03% | 6.69% | 8.53% | 5% to 10% | 5% to 10% | 9.12 | 1286 | 8.34 | 0.34 | 0.78 | 0
60 | POORVANCHAL | VARANASI I | EUDC I VARANASI | EUDD II CHOKAGHAT | BENIA BAG_40001 | CHET GANJ_41431210001CG1 | URBAN | OTHER | 4.566 | 4.268 | 3.649 | 3.567 | 93.49% | 97.78% | 6.51% | 8.59% | 5% to 10% | 5% to 10% | 8.55 | 2025 | 7.81 | 0.335 | 0.73 | 0
61 | POORVANCHAL | VARANASI I | EUDC I VARANASI | EUDD II CHOKAGHAT | NAGAR NIGAM_40019 | BANK COLONY_41431220019BAN | URBAN | OTHER | 7.783 | 7.652 | 6.18 | 5.913 | 98.32% | 95.68% | 1.68% | 5.93% | 0% to 5% | 5% to 10% | 8.08 | 3477 | 7.6 | 0.373 | 0.48 | 0
62 | POORVANCHAL | VARANASI I | EUDC I VARANASI | EUDD IV CHETMANI | BHU_40005 | GANGA PRADUSHAN_41431410005GA1 | URBAN | OTHER | 4.199 | 4.151 | 3.297 | 3.075 | 98.87% | 93.29% | 1.13% | 7.76% | 0% to 5% | 5% to 10% | 7.94 | 1981 | 7.32 | 0.259 | 0.62 | 0
63 | POORVANCHAL | VARANASI I | EUDC I VARANASI | EUDD VII MADHAULI | DPH_40010 | TOWN-IV_41431710010TW4 | URBAN | OTHER | 7.432 | 7.245 | 6.393 | 6.048 | 97.49% | 94.60% | 2.51% | 7.78% | 0% to 5% | 5% to 10% | 8.82 | 3351 | 8.14 | 0.51 | 0.69 | 0
64 | POORVANCHAL | VARANASI I | EUDC II VARANASI | EUDD VI SARNATH | LEDUPUR_40028 | ASHAPUR_41432620028AP1 | URBAN | OTHER | 9.521 | 9.119 | 8.137 | 7.801 | 95.77% | 95.87% | 4.23% | 8.18% | 0% to 5% | 5% to 10% | 8.92 | 3517 | 8.19 | 0.695 | 0.73 | 0
65 | POORVANCHAL | MIRZAPUR | EDC MIRZAPUR | EDD II MIRZAPUR | SAKHOURA_40112 | PUMP CANAL_46681130112PCL | URBAN | INDEPENDENT | 0.387 | 0.357 | 0.615 | 0.605 | 92.39% | 98.39% | 7.61% | 9.09% | 5% to 10% | 5% to 10% | 17.22 | 44 | 15.65 | 0.025 | 0.64 | 0
66 | POORVANCHAL | VARANASI II | EDC GHAZIPUR | EDD II GHAZIPUR | MOHAMDABAD_416441 | SEPRATE II_41644120175SR2 | TEHSIL | OTHER | 0.755 | 0.577 | 0.665 | 0.792 | 76.41% | 119.08% | 23.59% | 9.01% | 20% to 30% | 5% to 10% | 11.52 | 6 | 10.48 | 0.078 | 1.04 | 0
67 | POORVANCHAL | VARANASI II | EDC CHANDAULI | EDD MUGHAL SARAI | SINGHITALL_40644 | TOWN-3_41653110644TW3 | URBAN | INDUSTRIAL ABOVE 75% | 5.15 | 4.643 | 5.58 | 5.853 | 90.16% | 104.91% | 9.84% | 5.41% | 5% to 10% | 5% to 10% | 12.02 | 67 | 11.37 | 0.335 | 0.65 | 0
68 | POORVANCHAL | VARANASI II | EDC GHAZIPUR | EDD SAIDPUR | SAIDPUR RURAL_416443 | LOCO SHED_41644410334LCS | RURAL | INDEPENDENT | 0.04 | 0.037 | 0.132 | 0.132 | 91.34% | 100.00% | 8.66% | 8.66% | 5% to 10% | 5% to 10% | 35.66 | 1 | 32.57 | 0.002 | 0.61 | 0
69 | POORVANCHAL | MIRZAPUR | EDC MIRZAPUR | EDD CHUNAR | NARAYANPUR_416961 | COLD STORAGE_46691220736CLD | RURAL | INDUSTRIAL ABOVE 75% | 0.067 | 0.062 | 0.065 | 0.065 | 93.41% | 99.69% | 6.59% | 6.87% | 5% to 10% | 5% to 10% | 10.48 | 3 | 9.76 | 0.005 | 0.72 | 0
70 | POORVANCHAL | MIRZAPUR | EDC SONBHADRA | EDD PIPARI | NADHIRA_416962 | KHAMARIYA_46692230747KMR | RURAL | INDEPENDENT | 1.816 | 1.706 | 2.607 | 2.606 | 93.91% | 100.00% | 6.09% | 6.09% | 5% to 10% | 5% to 10% | 15.28 | 13 | 14.35 | 0.077 | 0.43 | 0
71 | POORVANCHAL | MIRZAPUR | EDC SONBHADRA | EDD PIPARI | RPH PIPRI_416962 | NEW VIKASH NAGAR_46692210081NWV | RURAL | INDEPENDENT | 0.291 | 0.286 | 0.294 | 0.273 | 98.32% | 92.99% | 1.68% | 8.58% | 0% to 5% | 5% to 10% | 10.27 | 123 | 9.39 | 0.026 | 0.88 | 0
72 | POORVANCHAL | MIRZAPUR | EDC SONBHADRA | EDD PIPARI | DALLA_416962 | CHOPAN-B_46692220741COB | RURAL | INDUSTRIAL ABOVE 75% | 4.745 | 4.656 | 4.851 | 4.511 | 98.12% | 92.99% | 1.88% | 8.76% | 0% to 5% | 5% to 10% | 10.42 | 450 | 9.51 | 0.433 | 0.91 | 0
73 | POORVANCHAL | AZAMGARH | EDC I AZAMGARH | EDD I AZAMGARH | CHANDESHAR_426011 | MEDICAL_42601120225MDC | URBAN | INDEPENDENT | 0.372 | 0.269 | 0.287 | 0.362 | 72.16% | 126.16% | 27.84% | 8.97% | 20% to 30% | 5% to 10% | 10.68 | 6 | 9.72 | 0.036 | 0.96 | 0
74 | POORVANCHAL | AZAMGARH | EDC MAU | EDD I MAU | RAHAJANIYA_40098 | DHEERAI ADIBAL_42622410098DHE | RURAL | INDEPENDENT | 0.513 | 0.511 | 0.524 | 0.497 | 99.59% | 94.77% | 0.41% | 5.62% | 0% to 5% | 5% to 10% | 10.25 | 12 | 9.67 | 0.03 | 0.58 | 0
75 | POORVANCHAL | AZAMGARH | EDC MAU | EDD III GHOSI | DOHRIGHAT_426222 | COLD STORAGE_42622220218CLD | RURAL | OTHER | 2.852 | 2.807 | 1.627 | 1.553 | 98.40% | 95.45% | 1.60% | 6.08% | 0% to 5% | 5% to 10% | 5.8 | 2885 | 5.45 | 0.101 | 0.35 | 0
76 | PASCHIMANCHAL | GHAZIABAD I | EUDC I GHAZIABAD | EUDD I GHAZIABAD | BSR 1_10281 | PREM HARI _15091120281PRE | URBAN | INDEPENDENT | 1.504 | 1.365 | 1.313 | 1.314 | 90.75% | 100.05% | 9.25% | 9.21% | 5% to 10% | 5% to 10% | 9.62 | 2 | 8.74 | 0.133 | 0.89 | 0
77 | PASCHIMANCHAL | GHAZIABAD I | EUDC I GHAZIABAD | EUDD I GHAZIABAD | RAJNAGAR 1_10278 | FEEDER 7_15091110278FD7 | URBAN | OTHER | 3.892 | 3.694 | 3.088 | 2.95 | 94.90% | 95.56% | 5.10% | 9.31% | 5% to 10% | 5% to 10% | 8.36 | 555 | 7.58 | 0.303 | 0.78 | 0
78 | PASCHIMANCHAL | GHAZIABAD I | EUDC I GHAZIABAD | EUDD I GHAZIABAD | KAVI NAGAR_10282 | FEEDER NO 4_15091120282FD4 | URBAN | OTHER | 2.05 | 1.905 | 1.5 | 1.487 | 92.93% | 99.12% | 7.07% | 7.89% | 5% to 10% | 5% to 10% | 7.87 | 474 | 7.25 | 0.127 | 0.62 | 0
79 | PASCHIMANCHAL | GHAZIABAD I | EUDC I GHAZIABAD | EUDD I GHAZIABAD | BAPU DHAM 7_10473 | FEEDER NO 1_15091110473FDR | URBAN | OTHER | 0.391 | 0.373 | 0.309 | 0.296 | 95.49% | 95.67% | 4.51% | 8.64% | 0% to 5% | 5% to 10% | 8.3 | 507 | 7.58 | 0.028 | 0.72 | 0
80 | PASCHIMANCHAL | GHAZIABAD I | EUDC I GHAZIABAD | EUDD IX GHAZIABAD | SHASTRI NAGAR 2_10492 | FEEDER 1_15091220492FD1 | URBAN | OTHER | 4.287 | 4.204 | 3.259 | 3.133 | 98.06% | 96.12% | 1.94% | 5.74% | 0% to 5% | 5% to 10% | 7.75 | 1372 | 7.31 | 0.191 | 0.44 | 0
81 | PASCHIMANCHAL | GHAZIABAD III | EUDC II GHAZIABAD | EUDD II GHAZIABAD | VAISHALI SECTOR 3_10344 | FEEDER NO.-6_15092120344FD6 | URBAN | MIXED ABOVE 50% | 1.908 | 1.617 | 1.649 | 1.795 | 84.73% | 108.86% | 15.27% | 7.76% | 10% to 20% | 5% to 10% | 10.2 | 3 | 9.41 | 0.151 | 0.79 | 0
82 | PASCHIMANCHAL | GHAZIABAD I | EUDC I GHAZIABAD | EUDD III GHAZIABAD | NEHRU NAGAR_10315 | GANDHI NAGAR_15094210315GAN | URBAN | OTHER | 4.886 | 4.745 | 3.829 | 3.693 | 97.12% | 96.45% | 2.88% | 6.33% | 0% to 5% | 5% to 10% | 8.07 | 1227 | 7.56 | 0.25 | 0.51 | 0
83 | PASCHIMANCHAL | GHAZIABAD I | EUDC I GHAZIABAD | EUDD III GHAZIABAD | NAVYUG MARKET_10428 | NAVYUG MARKET_15094220428NAV | URBAN | OTHER | 5.764 | 5.708 | 5.873 | 5.472 | 99.02% | 93.16% | 0.98% | 7.75% | 0% to 5% | 5% to 10% | 10.29 | 1830 | 9.49 | 0.46 | 0.8 | 0
84 | PASCHIMANCHAL | GHAZIABAD I | EUDC I GHAZIABAD | EUDD IX GHAZIABAD | SUDAMAPURI_10436 | L.I.G_15091210436LES | URBAN | INDEPENDENT | 0.402 | 0.392 | 0.301 | 0.282 | 97.46% | 93.40% | 2.54% | 8.97% | 0% to 5% | 5% to 10% | 7.7 | 409 | 7.01 | 0.028 | 0.69 | 0
85 | PASCHIMANCHAL | GHAZIABAD I | EUDC I GHAZIABAD | EUDD IX GHAZIABAD | AKBARPUR BEHRAMPUR_10502 | HINDON_15091210502HIN | URBAN | OTHER | 9.015 | 8.876 | 7.021 | 6.479 | 98.46% | 92.28% | 1.54% | 9.15% | 0% to 5% | 5% to 10% | 7.91 | 5008 | 7.19 | 0.652 | 0.72 | 0
86 | PASCHIMANCHAL | GHAZIABAD III | EUDC II GHAZIABAD | EUDD VI GHAZIABAD | SHALIMAR GARDEN 2_11365 | JAWAHAR PARK 2_15092311365JAW | URBAN | MIXED ABOVE 50% | 2.68 | 2.671 | 1.962 | 1.859 | 99.67% | 94.75% | 0.33% | 5.56% | 0% to 5% | 5% to 10% | 7.34 | 1405 | 6.94 | 0.11 | 0.41 | 0
87 | PASCHIMANCHAL | GHAZIABAD III | EUDC II GHAZIABAD | EUDD VIII GHAZIABAD | KALA PATTHAR_10356 | FEEDER NO 6_15092420356FD6 | URBAN | MIXED ABOVE 50% | 3.887 | 3.537 | 3.706 | 3.823 | 90.98% | 103.16% | 9.02% | 6.14% | 5% to 10% | 5% to 10% | 10.48 | 11 | 9.83 | 0.25 | 0.64 | 0
88 | PASCHIMANCHAL | GHAZIABAD III | EUDC II GHAZIABAD | EUDD VIII GHAZIABAD | SHIPRA SUN CITY_10359 | FEEDER 3_15092420359FD3 | URBAN | MIXED ABOVE 50% | 2.264 | 2.106 | 1.774 | 1.766 | 93.03% | 99.56% | 6.97% | 7.38% | 5% to 10% | 5% to 10% | 8.42 | 2 | 7.8 | 0.141 | 0.62 | 0
89 | PASCHIMANCHAL | GHAZIABAD II | EDC GHAZIABAD | EDD MODINAGAR | GOVIND PURI_10241 | SUCHETA PURI_15093220241SUP | URBAN | OTHER | 5.529 | 5.434 | 4.269 | 4.118 | 98.29% | 96.45% | 1.71% | 5.20% | 0% to 5% | 5% to 10% | 7.86 | 2992 | 7.45 | 0.226 | 0.41 | 0
90 | PASCHIMANCHAL | BULANDSHAHAR | EDC HAPUR | EDD I HAPUR | BABUGARH_10194 | BABUGARH CANTT_16734130194B1B | TEHSIL | MIXED ABOVE 50% | 7.948 | 6.918 | 5.869 | 6.347 | 87.03% | 108.13% | 12.97% | 5.89% | 10% to 20% | 5% to 10% | 8.48 | 3711 | 7.98 | 0.397 | 0.5 | 0
91 | PASCHIMANCHAL | BULANDSHAHAR | EDC HAPUR | EDD GARHMUKHTESHWAR | GOHARA_167343 | MAA AMBA COLD STORE_16734390852MAC | RURAL | INDEPENDENT | 0.155 | 0.144 | 0.174 | 0.174 | 93.40% | 100.23% | 6.60% | 6.38% | 5% to 10% | 5% to 10% | 12.04 | 1 | 11.27 | 0.012 | 0.77 | 0
92 | PASCHIMANCHAL | BULANDSHAHAR | EDC HAPUR | EDD II HAPUR | UBARPUR_167342 | COLD STORE_16734290856COL | RURAL | INDEPENDENT | 0.725 | 0.637 | 0.715 | 0.755 | 87.90% | 105.60% | 12.10% | 7.18% | 10% to 20% | 5% to 10% | 11.22 | 1 | 10.41 | 0.058 | 0.81 | 0
93 | PASCHIMANCHAL | BULANDSHAHAR | EDC HAPUR | EDD II HAPUR | KHERA_10162 | KHERA _16734210162KHE | RURAL | OTHER | 7.443 | 6.943 | 6.145 | 6.159 | 93.28% | 100.23% | 6.72% | 6.51% | 5% to 10% | 5% to 10% | 8.85 | 3506 | 8.27 | 0.429 | 0.58 | 0
94 | PASCHIMANCHAL | BULANDSHAHAR | EDC HAPUR | EDD II HAPUR | TEXTILE CENTER_15078 | HPDA-1_16734235078HD1 | URBAN | INDUSTRIAL ABOVE 75% | 3.868 | 3.408 | 4.68 | 4.858 | 88.11% | 103.81% | 11.89% | 8.53% | 10% to 20% | 5% to 10% | 13.73 | 91 | 12.56 | 0.453 | 1.17 | 0
95 | PASCHIMANCHAL | BULANDSHAHAR | EDC HAPUR | EDD II HAPUR | UPSIDC COCA COLA_167342 | KJS CONCRETE_16734290869KJS | RURAL | INDEPENDENT | 0.288 | 0.263 | 0.427 | 0.436 | 91.32% | 102.11% | 8.68% | 6.76% | 5% to 10% | 5% to 10% | 16.23 | 1 | 15.14 | 0.014 | 0.47 | 0
96 | PASCHIMANCHAL | BULANDSHAHAR | EDC II BULANDSHAHR | EDD I BULANDSHAHAR | GOPAL PUR (JOKHABAD)_10398 | SHANEY CORPORATION_16112120398SNC | URBAN | INDEPENDENT | 1.974 | 1.308 | 1.272 | 1.78 | 66.26% | 139.95% | 33.74% | 7.26% | 30% to 50% | 5% to 10% | 9.72 | 1 | 9.02 | 0.139 | 0.71 | 0
97 | PASCHIMANCHAL | MEERUT II | EDC I MEERUT | EDD I MEERUT | PANCHLI KHURD_11411 | PATHANPURA_11072121411PAT | URBAN | MIXED ABOVE 50% | 1.395 | 1.383 | 1.274 | 1.214 | 99.13% | 95.26% | 0.87% | 5.57% | 0% to 5% | 5% to 10% | 9.21 | 769 | 8.7 | 0.072 | 0.51 | 0
98 | PASCHIMANCHAL | MEERUT I | EUDC MEERUT | EUDD II MEERUT | RTO_10006 | FAZALPUR_11071210006FAZ | URBAN | MIXED ABOVE 50% | 7.29 | 6.873 | 5.081 | 4.868 | 94.27% | 95.81% | 5.73% | 9.68% | 5% to 10% | 5% to 10% | 7.39 | 3899 | 6.68 | 0.522 | 0.72 | 0
99 | PASCHIMANCHAL | MEERUT II | EDC I MEERUT | EDD III MEERUT | SIWAYA_110724 | PANWARI GAOU_11072490988PGU | RURAL | MIXED ABOVE 25% | 1.775 | 1.182 | 0.515 | 0.723 | 66.57% | 140.49% | 33.43% | 6.47% | 30% to 50% | 5% to 10% | 4.36 | 612 | 4.08 | 0.05 | 0.28 | 0
100 | PASCHIMANCHAL | MEERUT II | EDC I MEERUT | EDD III MEERUT | GEJHA_110724 | BRAHAMURTI_11072490994BRM | RURAL | INDUSTRIAL ABOVE 75% | 1.241 | 0.748 | 0.797 | 1.216 | 60.29% | 152.49% | 39.71% | 8.07% | 30% to 50% | 5% to 10% | 10.65 | 3 | 9.79 | 0.107 | 0.86 | 0
101 | PASCHIMANCHAL | MEERUT II | EDC BAGHPAT | EDD I BARAUT | BARAUT_10189 | INDEPENDENT_11083110189IND | URBAN | INDUSTRIAL ABOVE 75% | 2.137 | 1.75 | 1.809 | 2.087 | 81.89% | 115.37% | 18.11% | 5.53% | 10% to 20% | 5% to 10% | 10.34 | 2 | 9.76 | 0.122 | 0.57 | 0
102 | PASCHIMANCHAL | MEERUT II | EDC BAGHPAT | EDD I BARAUT | MUKANDPUR_110831 | MUKANDPUR TOWN_11083190752MRN | RURAL | OTHER | 0.634 | 0.596 | 0.335 | 0.328 | 94.04% | 97.76% | 5.96% | 8.07% | 5% to 10% | 5% to 10% | 5.62 | 634 | 5.17 | 0.029 | 0.45 | 0
103 | PASCHIMANCHAL | MEERUT II | EDC BAGHPAT | EDD I BARAUT | SILANA_110831 | SILANA TOWN_11083191506SIT | RURAL | OTHER | 0.819 | 0.793 | 0.463 | 0.436 | 96.79% | 94.10% | 3.21% | 8.92% | 0% to 5% | 5% to 10% | 5.84 | 701 | 5.32 | 0.043 | 0.52 | 0
104 | PASCHIMANCHAL | BULANDSHAHAR | EDC III BULANDSHAHAR | EDD JAHANGIRABAD | ANUOOPSHAHR TEHSIL_11114 | CHHAPETI_12004211114CHH | TEHSIL | MIXED ABOVE 50% | 4.11 | 4.067 | 3.924 | 3.694 | 98.96% | 94.14% | 1.04% | 6.84% | 0% to 5% | 5% to 10% | 9.65 | 2582 | 8.99 | 0.271 | 0.66 | 0
105 | PASCHIMANCHAL | MUZAFFARNAGAR | EUDC MUZAFFARNAGAR | EUDD I MUZAFFARNAGAR | TRANSPORT NAGAR_10258 | BHOPA ROAD(NO9)_13021120258BHO | URBAN | OTHER | 4.617 | 4.487 | 3.818 | 3.582 | 97.18% | 93.82% | 2.82% | 8.83% | 0% to 5% | 5% to 10% | 8.51 | 2559 | 7.76 | 0.347 | 0.75 | 0
106 | PASCHIMANCHAL | MUZAFFARNAGAR | EUDC MUZAFFARNAGAR | EUDD II MUZAFFARNAGAR | BARLA_130212 | KHAMPUR_13021220628KHA | RURAL | OTHER | 1.266 | 0.711 | 0.049 | 0.082 | 56.14% | 168.65% | 43.86% | 5.33% | 30% to 50% | 5% to 10% | 0.69 | 513 | 0.65 | 0.047 | 0.37 | 0
107 | PASCHIMANCHAL | MUZAFFARNAGAR | EUDC MUZAFFARNAGAR | EUDD III MUZAFFARNAGAR | MAHAVEER CHOWK_10250 | RAILWAY ROAD _13021310250RAI | URBAN | OTHER | 3.308 | 3.018 | 2.857 | 2.824 | 91.23% | 98.84% | 8.77% | 9.83% | 5% to 10% | 5% to 10% | 9.47 | 1092 | 8.54 | 0.308 | 0.93 | 0
108 | PASCHIMANCHAL | SAHARANPUR | EUDC SAHARANPUR | EUDD I SAHARANPUR | AMBALA ROAD_10102 | PATEL NAGAR_13013120102PAT | URBAN | OTHER | 1.729 | 1.684 | 1.421 | 1.328 | 97.40% | 93.45% | 2.60% | 8.98% | 0% to 5% | 5% to 10% | 8.44 | 790 | 7.68 | 0.131 | 0.76 | 0
109 | PASCHIMANCHAL | SAHARANPUR | EUDC SAHARANPUR | EUDD I SAHARANPUR | MANAK MAU_10101 | INDUSTRIAL_13013130101IND | URBAN | OTHER | 2.031 | 1.924 | 2.164 | 2.163 | 94.76% | 99.96% | 5.24% | 5.28% | 5% to 10% | 5% to 10% | 11.25 | 146 | 10.65 | 0.121 | 0.59 | 0
110 | PASCHIMANCHAL | SAHARANPUR | EUDC SAHARANPUR | EUDD II SAHARANPUR | JAIN BAGH _10105 | RAI WALA _13013210105RAL | URBAN | OTHER | 4.517 | 4.385 | 4.186 | 4.002 | 97.08% | 95.60% | 2.92% | 7.19% | 0% to 5% | 5% to 10% | 9.55 | 2958 | 8.86 | 0.31 | 0.69 | 0
111 | PASCHIMANCHAL | SAHARANPUR | EDC I SAHARANPUR | EDD BEHAT | BEHAT TEHSIL_10820 | KHALSA_16002110820KHA | RURAL | OTHER | 0.827 | 0.794 | 0.587 | 0.569 | 96.06% | 96.93% | 3.94% | 6.89% | 0% to 5% | 5% to 10% | 7.38 | 671 | 6.88 | 0.042 | 0.51 | 0
112 | PASCHIMANCHAL | SAHARANPUR | EDC I SAHARANPUR | EDD BEHAT | JEEWALA_130141 | ALIWALA_13014290817ALW | RURAL | OTHER | 1.974 | 1.24 | 0.44 | 0.653 | 62.80% | 148.43% | 37.20% | 6.79% | 30% to 50% | 5% to 10% | 3.55 | 728 | 3.31 | 0.048 | 0.24 | 0
113 | PASCHIMANCHAL | MORADABAD | EDC SAMBHAL | EDD CHANDAUSI | BAHJOI_10123 | MANAVAR INDUSTRY_12047330123MVI | URBAN | INDEPENDENT | 1.043 | 0.848 | 0.941 | 1.064 | 81.27% | 113.04% | 18.73% | 8.14% | 10% to 20% | 5% to 10% | 11.1 | 5 | 10.2 | 0.094 | 0.9 | 0
114 | PASCHIMANCHAL | MORADABAD | EDC MORADABAD | EDD III MORADABAD | SARKHADA PARAM_120415 | TRIVENI SUGAR_12041591183TSR | RURAL | INDEPENDENT | 0.346 | 0.314 | 0.441 | 0.441 | 90.64% | 100.00% | 9.36% | 9.36% | 5% to 10% | 5% to 10% | 14.06 | 1 | 12.74 | 0.046 | 1.32 | 0
115 | PASCHIMANCHAL | GAJRAULA | EDC AMROHA | EDD I AMROHA | COLLECTRATE_10332 | TOWN 1_12063130332TO1 | URBAN | OTHER | 5.171 | 5.158 | 4.732 | 4.284 | 99.76% | 90.52% | 0.24% | 9.70% | 0% to 5% | 5% to 10% | 9.17 | 3456 | 8.28 | 0.46 | 0.89 | 0
116 | PASCHIMANCHAL | GAJRAULA | EDC AMROHA | EDD I GAJRAULA | DHANAURI MAFI_120632 | JHANKPURI_12063291248JNK | RURAL | OTHER | 0.617 | 0.461 | 0.267 | 0.327 | 74.64% | 122.14% | 25.36% | 8.84% | 20% to 30% | 5% to 10% | 5.8 | 289 | 5.29 | 0.032 | 0.51 | 0
117 | PASCHIMANCHAL | MORADABAD | EUDC MORADABAD | EUDD II MORADABAD | PTC_10167 | AVAS VIKAS_12042210167AVA | URBAN | OTHER | 4.176 | 4.044 | 4.371 | 4.114 | 96.84% | 94.12% | 3.16% | 8.85% | 0% to 5% | 5% to 10% | 10.81 | 881 | 9.85 | 0.4 | 0.96 | 0
118 | PASCHIMANCHAL | MORADABAD | EUDC MORADABAD | EUDD II MORADABAD | WAVE GREEN_10470 | RITU WEAR _12042210470RIT | URBAN | INDEPENDENT | 0.018 | 0.016 | 0.129 | 0.129 | 90.11% | 100.00% | 9.89% | 9.89% | 5% to 10% | 5% to 10% | 78.84 | 1 | 71.04 | 0.001 | 0.69 | 0
119 | PASCHIMANCHAL | MORADABAD | EDC RAMPUR | EDD II RAMPUR | TANDA_10117 | COLD STORE_12054220117COL | URBAN | INDEPENDENT | 0.226 | 0.205 | 0.249 | 0.248 | 90.88% | 99.84% | 9.12% | 9.27% | 5% to 10% | 5% to 10% | 12.11 | 1 | 10.99 | 0.025 | 1.12 | 0
120 | PASCHIMANCHAL | GAJRAULA | EDC BIJNOR | EDD I BIJNOR | BUKHARA NO 9 (BIJNOR 1)_10228 | BHARAT BIHAR_12035110228BHA | URBAN | OTHER | 7.281 | 7.04 | 6.374 | 6.247 | 96.69% | 98.02% | 3.31% | 5.22% | 0% to 5% | 5% to 10% | 9.05 | 3153 | 8.58 | 0.344 | 0.47 | 0
121 | PASCHIMANCHAL | NOIDA | EUDC I NOIDA | EUDD I NOIDA | SECTOR 67_10060 | FEEDER 2_14101120060F02 | URBAN | OTHER | 6.588 | 6.018 | 7.84 | 7.815 | 91.36% | 99.68% | 8.64% | 8.93% | 5% to 10% | 5% to 10% | 13.03 | 179 | 11.86 | 0.767 | 1.16 | 0
122 | PASCHIMANCHAL | NOIDA | EUDC I NOIDA | EUDD I NOIDA | SECTOR 67_10060 | FEEDER 11_14101120060F11 | URBAN | INDUSTRIAL ABOVE 75% | 7.548 | 6.717 | 7.167 | 7.644 | 88.99% | 106.66% | 11.01% | 5.08% | 10% to 20% | 5% to 10% | 10.67 | 74 | 10.13 | 0.409 | 0.54 | 0
123 | PASCHIMANCHAL | NOIDA | EUDC II NOIDA | EUDD III NOIDA | SECTOR 45_10456 | FEEDER NO 7_14102340456F07 | URBAN | INDEPENDENT | 1.91 | 1.801 | 1.765 | 1.691 | 94.27% | 95.82% | 5.73% | 9.66% | 5% to 10% | 5% to 10% | 9.8 | 3 | 8.85 | 0.181 | 0.95 | 0
124 | PASCHIMANCHAL | NOIDA | EUDC II NOIDA | EUDD III NOIDA | SECTOR 153_10459 | FDR 10 ARG_14102340459F10 | URBAN | INDEPENDENT | 2.296 | 1.702 | 2.693 | 3.335 | 74.10% | 123.83% | 25.90% | 8.25% | 20% to 30% | 5% to 10% | 15.83 | 16 | 14.52 | 0.133 | 0.58 | 0
125 | PASCHIMANCHAL | GHAZIABAD III | EUDC III GHAZIABAD | EUDD XI GHAZIABAD | SECTOR 62A_10046 | FEEDER NO 7_15092510046F07 | URBAN | MIXED ABOVE 50% | 11.782 | 11.439 | 8.792 | 8.527 | 97.09% | 96.99% | 2.91% | 5.83% | 0% to 5% | 5% to 10% | 7.69 | 4895 | 7.24 | 0.528 | 0.45 | 0
126 | PASCHIMANCHAL | GHAZIABAD III | EUDC III GHAZIABAD | EUDD XI GHAZIABAD | SECTOR 55_10310 | FEEDER NO 2_15092510310F02 | URBAN | MIXED ABOVE 50% | 4.426 | 4.165 | 3.184 | 3.092 | 94.11% | 97.12% | 5.89% | 8.60% | 5% to 10% | 5% to 10% | 7.64 | 1564 | 6.99 | 0.291 | 0.66 | 0
127 | PASCHIMANCHAL | NOIDA | EUDC I NOIDA | EUDD VII NOIDA | SECTOR 53_10409 | FEEDER NO 3_14101520409F03 | URBAN | OTHER | 2.11 | 2.075 | 1.855 | 1.733 | 98.35% | 93.41% | 1.65% | 8.13% | 0% to 5% | 5% to 10% | 8.94 | 656 | 8.21 | 0.153 | 0.73 | 0
128 | PASCHIMANCHAL | NOIDA | EUDC I NOIDA | EUDD VII NOIDA | SECTOR 60_10054 | FEEDER NO 4_14101510054F04 | URBAN | OTHER | 3.27 | 2.954 | 3.823 | 3.908 | 90.34% | 102.24% | 9.66% | 7.64% | 5% to 10% | 5% to 10% | 12.94 | 18 | 11.95 | 0.323 | 0.99 | 0
129 | PASCHIMANCHAL | NOIDA | EUDC I NOIDA | EUDD VII NOIDA | SECTOR 62 C_10058 | FEEDER 3_14101520058F03 | URBAN | MIXED ABOVE 25% | 3.942 | 3.768 | 3.856 | 3.646 | 95.60% | 94.54% | 4.40% | 9.62% | 0% to 5% | 5% to 10% | 10.23 | 486 | 9.25 | 0.388 | 0.98 | 0
130 | PASCHIMANCHAL | GHAZIABAD II | EDC LONI | EDD II LONI | ROOP NAGAR-1_10234 | ROOP NAGAR-5_15097210234RO5 | URBAN | INDUSTRIAL ABOVE 75% | 5.226 | 4.759 | 6.046 | 6.146 | 91.06% | 101.65% | 8.94% | 7.43% | 5% to 10% | 5% to 10% | 12.7 | 146 | 11.76 | 0.494 | 0.94 | 0
131 | PASCHIMANCHAL | GHAZIABAD II | EDC LONI | EDD II LONI | ROOP NAGAR-1_10234 | ARYA NAGAR- 3_15097210234AN3 | URBAN | INDUSTRIAL ABOVE 75% | 5.813 | 5.809 | 7.236 | 6.85 | 99.92% | 94.67% | 0.08% | 5.41% | 0% to 5% | 5% to 10% | 12.46 | 284 | 11.78 | 0.391 | 0.67 | 0
132 | PASCHIMANCHAL | GHAZIABAD II | EDC LONI | EDD II LONI | CHAMAN VIHAR_15018 | CHAMAN VIHAR_15097225018CHV | URBAN | OTHER | 3.941 | 3.907 | 3.062 | 2.835 | 99.13% | 92.60% | 0.87% | 8.21% | 0% to 5% | 5% to 10% | 7.84 | 2866 | 7.19 | 0.253 | 0.64 | 0
133 | PASCHIMANCHAL | GHAZIABAD II | EDC LONI | EDD III LONI | INDRAPRASTHA TILLA _10453 | RAHUL GARDEN_15097310453RAH | URBAN | OTHER | 9.331 | 8.842 | 6.896 | 6.686 | 94.76% | 96.95% | 5.24% | 8.13% | 5% to 10% | 5% to 10% | 7.8 | 7461 | 7.17 | 0.592 | 0.63 | 0
134 | PASCHIMANCHAL | GHAZIABAD III | EUDC III GHAZIABAD | EUDD X GHAZIABAD | NAND GRAM 1_10341 | FEEDER NO 1_15094120341NG1 | URBAN | OTHER | 6.437 | 6.3 | 5.074 | 4.744 | 97.88% | 93.49% | 2.12% | 8.50% | 0% to 5% | 5% to 10% | 8.05 | 3723 | 7.37 | 0.44 | 0.68 | 0
135 | MADHYANCHAL | RAIBAREILI | EDC II RAIBAREILI | EDD SALON | SALON_332751 | COLDSTORAGE_33271220147CSE | RURAL | MIXED ABOVE 50% | 4.248 | 3.745 | 4.082 | 4.358 | 88.15% | 106.77% | 11.85% | 5.88% | 10% to 20% | 5% to 10% | 10.9 | 21 | 10.26 | 0.272 | 0.64 | 0
136 | MADHYANCHAL | AYODHYA | EDC AYODHYA | EDD I AYODHYA | DEVKALI_30047 | DEENDAYAL NAGAR_32461120047DDN | URBAN | MIXED ABOVE 25% | 1.954 | 1.928 | 1.96 | 1.849 | 98.67% | 94.34% | 1.33% | 6.91% | 0% to 5% | 5% to 10% | 10.17 | 728 | 9.46 | 0.137 | 0.7 | 0
137 | MADHYANCHAL | AYODHYA | EDC AYODHYA | EDD I AYODHYA | CHOWK_30052 | MUGALPURA_32461110052MUG | RURAL | MIXED ABOVE 25% | 2.84 | 2.825 | 2.423 | 2.254 | 99.47% | 93.00% | 0.53% | 7.49% | 0% to 5% | 5% to 10% | 8.58 | 1714 | 7.94 | 0.182 | 0.64 | 0
138 | MADHYANCHAL | AYODHYA | EDC BARABANKI | EDD BARABANKI | OBARI_30172 | RAILWAY_32452210172RAI | URBAN | MIXED ABOVE 50% | 5.869 | 5.776 | 5.155 | 4.946 | 98.42% | 95.96% | 1.58% | 5.55% | 0% to 5% | 5% to 10% | 8.92 | 3062 | 8.43 | 0.291 | 0.5 | 0
139 | MADHYANCHAL | AYODHYA | EDC BARABANKI | EDD BARABANKI | CHANDAULI_30198 | INDUSTRIAL_32452230198ISL | URBAN | INDUSTRIAL ABOVE 75% | 4.576 | 3.492 | 3.572 | 4.224 | 76.31% | 118.25% | 23.69% | 9.76% | 20% to 30% | 5% to 10% | 10.23 | 67 | 9.23 | 0.457 | 1 | 0
140 | MADHYANCHAL | AYODHYA | EDC BARABANKI | EDD BARABANKI | OBARI NEW_34051 | CITY 3_32452214051CT3 | URBAN | MIXED ABOVE 50% | 5.603 | 5.459 | 5.178 | 4.951 | 97.42% | 95.61% | 2.58% | 6.85% | 0% to 5% | 5% to 10% | 9.49 | 3451 | 8.84 | 0.364 | 0.65 | 0
141 | MADHYANCHAL | AYODHYA | EDC BARABANKI | RAMSNEHI GHAT | ZAIDPUR_30001 | ZAIDPUR-I_32452110001ZPR | URBAN | OTHER | 4.265 | 4.156 | 2.985 | 2.766 | 97.44% | 92.67% | 2.56% | 9.71% | 0% to 5% | 5% to 10% | 7.18 | 4171 | 6.49 | 0.297 | 0.7 | 0
142 | MADHYANCHAL | GONDA | EDC BALRAMPUR | EDD BALRAMPUR | BHAGWATIGANJ_30252 | BHAGWATIGANJ_35513110252BAJ | URBAN | OTHER | 3.32 | 3.164 | 2.867 | 2.831 | 95.30% | 98.73% | 4.70% | 5.91% | 0% to 5% | 5% to 10% | 9.06 | 2386 | 8.53 | 0.178 | 0.54 | 0
143 | MADHYANCHAL | GONDA | EDC BAHRAICH | EDD BAHRAICH | PARSAURA_354921 | BHAGWANDEEN_35492110455BAN | URBAN | MIXED ABOVE 50% | 0.246 | 0.194 | 0.322 | 0.373 | 78.66% | 115.75% | 21.34% | 8.96% | 20% to 30% | 5% to 10% | 16.64 | 2 | 15.15 | 0.015 | 0.63 | 0
144 | MADHYANCHAL | AYODHYA | EDC GAURIGANJ | EDD GAURIGANJ | MAU_324851 | SHREE MAHESH INDUSTRIES_32484141030SMI | RURAL | INDEPENDENT | 0.129 | 0.114 | 0.145 | 0.149 | 88.07% | 102.55% | 11.93% | 9.68% | 10% to 20% | 5% to 10% | 12.75 | 1 | 11.52 | 0.016 | 1.23 | 0
145 | MADHYANCHAL | LUCKNOW CENTRAL | EUDC RAJ BHAWAN | HUSSAIN GANJ | DARUL SHAFA_30096 | ATTALIKA_31261120096ATL | URBAN | MIXED ABOVE 50% | 1.42 | 1.306 | 1.661 | 1.644 | 91.96% | 98.96% | 8.04% | 9.00% | 5% to 10% | 5% to 10% | 12.72 | 124 | 11.58 | 0.163 | 1.15 | 0
146 | MADHYANCHAL | LUCKNOW CENTRAL | EUDC RAJ BHAWAN | HUSSAIN GANJ | DARUL SHAFA_30096 | HAZARAT GANJ_31261120096HRG | URBAN | MIXED ABOVE 50% | 4.154 | 3.749 | 4.651 | 4.663 | 90.25% | 100.25% | 9.75% | 9.53% | 5% to 10% | 5% to 10% | 12.41 | 477 | 11.22 | 0.491 | 1.18 | 0
147 | MADHYANCHAL | LUCKNOW CENTRAL | EUDC RAJ BHAWAN | HUSSAIN GANJ | VS MARG_34173 | BARLINGTON_31261114173BIN | URBAN | MIXED ABOVE 50% | 2.307 | 1.882 | 1.919 | 2.152 | 81.59% | 112.17% | 18.41% | 8.48% | 10% to 20% | 5% to 10% | 10.19 | 434 | 9.33 | 0.199 | 0.86 | 0
148 | MADHYANCHAL | LUCKNOW CENTRAL | EUDC CHOWK | RESIDENCY | UPIL(RAJENDRA NAGAR)_30100 | MOTI NAGAR_31268220100MTN | URBAN | OTHER | 4.458 | 4.448 | 3.657 | 3.467 | 99.78% | 94.83% | 0.22% | 5.39% | 0% to 5% | 5% to 10% | 8.22 | 1901 | 7.78 | 0.197 | 0.44 | 0
149 | MADHYANCHAL | LUCKNOW CENTRAL | EUDC RAJ BHAWAN | RAJ BHAWAN | CG CITY-3_34135 | RMU-5_31261434135RM5 | URBAN | MIXED ABOVE 50% | 0.313 | 0.297 | 0.318 | 0.318 | 94.89% | 100.00% | 5.11% | 5.11% | 5% to 10% | 5% to 10% | 10.7 | 3 | 10.15 | 0.017 | 0.55 | 0
150 | MADHYANCHAL | LUCKNOW CENTRAL | EUDC CHOWK | THAKURGANJ | GAUGHAT_30109 | PUMP HOUSE_31268310109PMH | URBAN | INDEPENDENT | 5.28 | 4.754 | 5.54 | 5.54 | 90.04% | 100.00% | 9.96% | 9.96% | 5% to 10% | 5% to 10% | 11.65 | 2 | 10.49 | 0.613 | 1.16 | 0
151 | MADHYANCHAL | JANKIPURAM | EUDC MAHANAGAR | MAHANAGAR | KAPOORTHALA_30088 | SAHARA BHAWAN_36266320088SBN | URBAN | MIXED ABOVE 50% | 0.198 | 0.195 | 0.424 | 0.405 | 98.08% | 95.40% | 1.92% | 6.42% | 0% to 5% | 5% to 10% | 21.81 | 72 | 20.41 | 0.009 | 0.45 | 0
152 | MADHYANCHAL | GOMTI NAGAR | EUDC GOMTI NAGAR | GOMTINAGAR | VISHWAS KHAND_30140 | NAWAB PURWA_36262210140NWP | URBAN | MIXED ABOVE 50% | 4.876 | 4.857 | 4.025 | 3.83 | 99.60% | 95.16% | 0.40% | 5.23% | 0% to 5% | 5% to 10% | 8.29 | 1346 | 7.85 | 0.211 | 0.43 | 0
153 | MADHYANCHAL | GOMTI NAGAR | EUDC GOMTI NAGAR | GOMTINAGAR | VIPINKHAND_34127 | VIPUL KHAND_36262214127VIL | URBAN | MIXED ABOVE 50% | 3.987 | 3.539 | 3.116 | 3.165 | 88.77% | 101.54% | 11.23% | 9.86% | 10% to 20% | 5% to 10% | 8.81 | 766 | 7.94 | 0.346 | 0.87 | 0
154 | MADHYANCHAL | GOMTI NAGAR | EUDC GOMTI NAGAR | GOMTINAGAR | VIRAJ KHAND_30139 | VINAMRA KHAND_36262220139VNA | URBAN | MIXED ABOVE 50% | 6.013 | 5.925 | 5.4 | 5.115 | 98.54% | 94.73% | 1.46% | 6.66% | 0% to 5% | 5% to 10% | 9.11 | 1451 | 8.51 | 0.365 | 0.61 | 0
155 | MADHYANCHAL | JANKIPURAM | EUDC PURANIA | RAHEEM NAGAR | VIKAS NAGAR_30144 | GANDHI NAGAR_36260220144GAN | URBAN | OTHER | 2.961 | 2.945 | 2.339 | 2.191 | 99.45% | 93.68% | 0.55% | 6.83% | 0% to 5% | 5% to 10% | 7.94 | 1075 | 7.4 | 0.161 | 0.54 | 0
156 | MADHYANCHAL | JANKIPURAM | EUDC PURANIA | RAHEEM NAGAR | VIKAS NAGAR_30144 | LABOUR ADDA_36260220144LAB | URBAN | OTHER | 2.324 | 2.312 | 1.996 | 1.891 | 99.50% | 94.75% | 0.50% | 5.72% | 0% to 5% | 5% to 10% | 8.63 | 912 | 8.14 | 0.115 | 0.49 | 0
157 | MADHYANCHAL | JANKIPURAM | EUDC PURANIA | RAHEEM NAGAR | VIKAS NAGAR_30144 | GULACHEEN_36260220144GLN | URBAN | OTHER | 1.919 | 1.801 | 1.449 | 1.428 | 93.83% | 98.56% | 6.17% | 7.52% | 5% to 10% | 5% to 10% | 8.05 | 650 | 7.44 | 0.116 | 0.61 | 0
158 | MADHYANCHAL | JANKIPURAM | EUDC PURANIA | RAHEEM NAGAR | JANKIPURAM SECTOR-I_34157 | PRABHAT CHURAHA_36269224157PCA | URBAN | OTHER | 2.756 | 2.665 | 2.163 | 2.026 | 96.72% | 93.65% | 3.28% | 9.42% | 0% to 5% | 5% to 10% | 8.12 | 1001 | 7.35 | 0.211 | 0.76 | 0
159 | MADHYANCHAL | JANKIPURAM | EUDC PURANIA | RAHEEM NAGAR | JANKIPURAM SECTOR-I_34157 | 60 FITA ROAD_36269224157FRD | URBAN | OTHER | 3.352 | 3.138 | 2.601 | 2.511 | 93.60% | 96.51% | 6.40% | 9.66% | 5% to 10% | 5% to 10% | 8.29 | 891 | 7.49 | 0.269 | 0.8 | 0
160 | MADHYANCHAL | JANKIPURAM | EUDC PURANIA | DALIGANJ | GOYEL CHAURAHA_34176 | R.B.I_36266324176RBI | URBAN | OTHER | 2.414 | 2.335 | 2.001 | 1.88 | 96.72% | 93.93% | 3.28% | 9.15% | 0% to 5% | 5% to 10% | 8.57 | 911 | 7.78 | 0.189 | 0.78 | 0
161 | MADHYANCHAL | GOMTI NAGAR | EUDC INDIRA NAGAR | MUNSHI PULIA | SECTOR-14 OLD_30129 | DWARIKA PURI_36269210129DWP | URBAN | MIXED ABOVE 25% | 2.475 | 2.379 | 2.005 | 1.899 | 96.14% | 94.69% | 3.86% | 8.96% | 0% to 5% | 5% to 10% | 8.43 | 717 | 7.67 | 0.187 | 0.76 | 0
162 | MADHYANCHAL | GOMTI NAGAR | EUDC INDIRA NAGAR | MUNSHI PULIA | SECTOR-14 OLD_30129 | SEC-12_36269210129SE2 | URBAN | MIXED ABOVE 25% | 2.043 | 1.945 | 1.645 | 1.583 | 95.22% | 96.25% | 4.78% | 8.35% | 0% to 5% | 5% to 10% | 8.46 | 663 | 7.75 | 0.144 | 0.71 | 0
163 | MADHYANCHAL | GOMTI NAGAR | EUDC INDIRA NAGAR | MUNSHI PULIA | SECTOT-14 NEW_30128 | SECT-11 14_36269220128S11 | URBAN | MIXED ABOVE 25% | 4.986 | 4.835 | 3.889 | 3.626 | 96.98% | 93.23% | 3.02% | 9.59% | 0% to 5% | 5% to 10% | 8.04 | 1867 | 7.27 | 0.385 | 0.77 | 0
164 | MADHYANCHAL | GOMTI NAGAR | EUDC GOMTI NAGAR | CHINHAT | SHIVPURI CHINHAT_30136 | SILVER LINE FEEDER_36262610136SLN | URBAN | MIXED ABOVE 50% | 1.53 | 1.515 | 1.132 | 1.062 | 99.01% | 93.87% | 0.99% | 7.06% | 0% to 5% | 5% to 10% | 7.47 | 777 | 6.94 | 0.081 | 0.53 | 0
165 | MADHYANCHAL | GOMTI NAGAR | EUDC GOMTI NAGAR | CHINHAT | SHIVPURI CHINHAT_30136 | DEVA AMRAI_36262610136DAR | URBAN | MIXED ABOVE 50% | 7.018 | 6.875 | 5.521 | 5.142 | 97.98% | 93.14% | 2.02% | 8.75% | 0% to 5% | 5% to 10% | 8.03 | 4358 | 7.33 | 0.493 | 0.7 | 0
166 | MADHYANCHAL | GOMTI NAGAR | EUDC GOMTI NAGAR | CHINHAT | SECTOR-4 GOMTINAGAR EXT_30214 | ROHANI FEEDER_36262620214RHI | URBAN | MIXED ABOVE 50% | 0.569 | 0.515 | 0.378 | 0.38 | 90.43% | 100.53% | 9.57% | 9.09% | 5% to 10% | 5% to 10% | 7.34 | 259 | 6.67 | 0.038 | 0.67 | 0
167 | MADHYANCHAL | JANKIPURAM | EUDC MAHANAGAR | SITAPUR ROAD | PRIYADARSHANI_34171 | NAYA PURWA_36266514171NAA | URBAN | MIXED ABOVE 50% | 4.208 | 4.122 | 3.421 | 3.149 | 97.96% | 92.05% | 2.04% | 9.83% | 0% to 5% | 5% to 10% | 8.3 | 1420 | 7.48 | 0.343 | 0.82 | 0
168 | MADHYANCHAL | AMAUSI | EUDC VRINDAVAN | KANPUR ROAD | AASHIYANA_30114 | SMRITI UPVAN_31267220114SMR | URBAN | MIXED ABOVE 50% | 4.266 | 4.031 | 3.461 | 3.466 | 94.48% | 100.16% | 5.52% | 5.37% | 5% to 10% | 5% to 10% | 8.59 | 988 | 8.13 | 0.197 | 0.46 | 0
169 | MADHYANCHAL | AMAUSI | EUDC VRINDAVAN | KANPUR ROAD | BANGLA BAZAR_34128 | KHAJANA_31267224128KML | URBAN | MIXED ABOVE 50% | 6.155 | 5.954 | 5.284 | 5.051 | 96.74% | 95.60% | 3.26% | 7.52% | 0% to 5% | 5% to 10% | 8.87 | 1990 | 8.21 | 0.411 | 0.67 | 0
170 | MADHYANCHAL | AMAUSI | EUDC VRINDAVAN | KANPUR ROAD | SHAKTI CHAURAHA_34085 | SHAKTI_31267224085SIR | URBAN | MIXED ABOVE 50% | 4.713 | 4.642 | 3.456 | 3.312 | 98.50% | 95.82% | 1.50% | 5.61% | 0% to 5% | 5% to 10% | 7.45 | 2061 | 7.03 | 0.197 | 0.42 | 0
171 | MADHYANCHAL | AMAUSI | EUDC VRINDAVAN | KANPUR ROAD | SHAKTI CHAURAHA_34085 | SHANI DEV MANDIR NEW_31267224085SSN | URBAN | MIXED ABOVE 50% | 4.589 | 4.391 | 3.636 | 3.459 | 95.69% | 95.12% | 4.31% | 8.98% | 0% to 5% | 5% to 10% | 8.28 | 1542 | 7.54 | 0.341 | 0.74 | 0
172 | MADHYANCHAL | AMAUSI | EUDC VRINDAVAN | VRINDAVAN | VRINDAVAN SECTOR 8_34148 | SECTOR-8_31267314148SC8 | URBAN | MIXED ABOVE 50% | 2.541 | 2.448 | 2.444 | 2.325 | 96.37% | 95.13% | 3.63% | 8.32% | 0% to 5% | 5% to 10% | 9.98 | 734 | 9.15 | 0.211 | 0.83 | 0
173 | MADHYANCHAL | AMAUSI | EDC LUCKNOW RURAL | NADAR GANJ | NADARGANJ OLD_34164 | INDUSTRIAL-2_31264114164IN2 | URBAN | MIXED ABOVE 50% | 4.288 | 3.451 | 3.621 | 4.071 | 80.48% | 112.43% | 19.52% | 9.51% | 10% to 20% | 5% to 10% | 10.49 | 58 | 9.49 | 0.428 | 1 | 0
174 | MADHYANCHAL | AMAUSI | EDC LUCKNOW RURAL | NADAR GANJ | GHEROO_30152 | ENG. COLLEG_31264110152ENG | URBAN | OTHER | 1.424 | 1.121 | 1.435 | 1.691 | 78.75% | 117.85% | 21.25% | 7.19% | 20% to 30% | 5% to 10% | 12.8 | 1 | 11.88 | 0.131 | 0.92 | 0
175 | MADHYANCHAL | AMAUSI | EDC LUCKNOW RURAL | NADAR GANJ | BABA AMBEDKAR UNIVERSITY_30122 | AMBEDKAR UNIVERSITY_31264110122ABU | URBAN | OTHER | 1.733 | 1.607 | 0.545 | 0.545 | 92.77% | 99.94% | 7.23% | 7.28% | 5% to 10% | 5% to 10% | 3.39 | 5 | 3.14 | 0.043 | 0.25 | 0
176 | MADHYANCHAL | AMAUSI | EDC LUCKNOW RURAL | NADAR GANJ | NADARGANJ NEW_30151 | AWASTHI HOTEL_31264110151AWH | URBAN | INDEPENDENT | 1.523 | 1.139 | 1.434 | 1.779 | 74.82% | 124.07% | 25.18% | 7.17% | 20% to 30% | 5% to 10% | 12.58 | 1 | 11.68 | 0.137 | 0.9 | 0
177 | MADHYANCHAL | JANKIPURAM | EUDC PURANIA | BAKSHI KA TALAB | GPRA_30145 | GUDAMBA_36260320145GDB | URBAN | OTHER | 4.915 | 4.742 | 3.819 | 3.583 | 96.49% | 93.81% | 3.51% | 9.48% | 0% to 5% | 5% to 10% | 8.05 | 2049 | 7.29 | 0.375 | 0.76 | 0
178 | MADHYANCHAL | AMAUSI | EDC LUCKNOW RURAL | MOHAN LAL GANJ | MOHANLALGANJ (OLD)_312645 | D.L.F._31264520015DLF | RURAL | OTHER | 1.21 | 1.021 | 1.094 | 1.21 | 84.39% | 110.63% | 15.61% | 6.64% | 10% to 20% | 5% to 10% | 10.71 | 1 | 10 | 0.086 | 0.71 | 0
179 | MADHYANCHAL | AMAUSI | EDC LUCKNOW RURAL | MOHAN LAL GANJ | MOHANLALGANJ (NEW)_312645 | B.S.F._31264320014BSF | RURAL | INDEPENDENT | 0.224 | 0.17 | 0.109 | 0.136 | 75.87% | 125.05% | 24.13% | 5.13% | 20% to 30% | 5% to 10% | 6.4 | 3 | 6.07 | 0.007 | 0.33 | 0
180 | MADHYANCHAL | BAREILLY I | EDC BAREILLY | EDD II BAREILLY | ANDHARPURA_341922 | FARIDPUR_34192210563FIR | RURAL | INDUSTRIAL ABOVE 75% | 6.568 | 6.298 | 7.989 | 7.701 | 95.88% | 96.40% | 4.12% | 7.58% | 0% to 5% | 5% to 10% | 12.69 | 223 | 11.72 | 0.631 | 0.96 | 0
181 | MADHYANCHAL | BAREILLY I | EDC BAREILLY | EDD BAHERI | BAHERI RURAL_341923 | KESHAR_34192310441KER | RURAL | INDUSTRIAL ABOVE 75% | 0.746 | 0.667 | 0.895 | 0.924 | 89.34% | 103.25% | 10.66% | 7.76% | 10% to 20% | 5% to 10% | 13.42 | 42 | 12.38 | 0.078 | 1.04 | 0
182 | MADHYANCHAL | BAREILLY I | EDC BAREILLY | EDD BAHERI | RICHHA_341923 | INDUSTRIAL_34192310445ISL | RURAL | INDUSTRIAL ABOVE 75% | 1.427 | 1.271 | 2.362 | 2.503 | 89.09% | 105.95% | 10.91% | 5.61% | 10% to 20% | 5% to 10% | 18.59 | 33 | 17.54 | 0.056 | 0.39 | 0
183 | MADHYANCHAL | BAREILLY II | EDC SHAHJAHANPUR | EDD POWAYAN | POWAYAN TEHSIL_342134 | GITA CITY_34213120541GTY | TEHSIL | OTHER | 3.277 | 2.172 | 1.581 | 2.227 | 66.27% | 140.91% | 33.73% | 6.62% | 30% to 50% | 5% to 10% | 7.28 | 2110 | 6.8 | 0.158 | 0.48 | 0
184 | MADHYANCHAL | BAREILLY I | EUDC BAREILLY | EUDD I BAREILLY | CIVIL LINE-1_30181 | AVAS VIKAS_34191110181AVA | URBAN | OTHER | 2.266 | 2.159 | 1.872 | 1.817 | 95.30% | 97.10% | 4.70% | 7.46% | 0% to 5% | 5% to 10% | 8.67 | 554 | 8.02 | 0.147 | 0.65 | 0
185 | MADHYANCHAL | BAREILLY I | EUDC BAREILLY | EUDD I BAREILLY | SUBASH NAGAR_30180 | BDA-1_34191110180BN1 | URBAN | OTHER | 6.8 | 6.558 | 5.247 | 4.939 | 96.45% | 94.14% | 3.55% | 9.21% | 0% to 5% | 5% to 10% | 8 | 4142 | 7.26 | 0.501 | 0.74 | 0
186 | MADHYANCHAL | BAREILLY I | EUDC BAREILLY | EUDD I BAREILLY | CIVIL LINE-2_34193 | KAMAL TALKIES_34191114193KAM | URBAN | OTHER | 4.506 | 4.296 | 5.154 | 4.94 | 95.34% | 95.84% | 4.66% | 8.63% | 0% to 5% | 5% to 10% | 12 | 1319 | 10.96 | 0.466 | 1.04 | 0
187 | MADHYANCHAL | BAREILLY I | EUDC BAREILLY | EUDD II BAREILLY | CB GANJ_30188 | BAREILLY-II_34191220188BA2 | URBAN | MIXED ABOVE 50% | 8.472 | 8.173 | 7.251 | 6.766 | 96.48% | 93.31% | 3.52% | 9.98% | 0% to 5% | 5% to 10% | 8.87 | 5502 | 7.99 | 0.75 | 0.89 | 0
188 | MADHYANCHAL | BAREILLY I | EUDC BAREILLY | EUDD III BAREILLY | IJJATNAGAR(RURAL)_30249 | GOPAL NAGAR_34191320249GPR | URBAN | OTHER | 3.202 | 3.196 | 2.721 | 2.536 | 99.81% | 93.20% | 0.19% | 6.98% | 0% to 5% | 5% to 10% | 8.51 | 1880 | 7.92 | 0.19 | 0.59 | 0
189 | MADHYANCHAL | BAREILLY II | EDC BADAUN | EDD I BADAUN | KACHHARI_34202 | GANDHI NAGAR_34181114202GHR | URBAN | OTHER | 3.475 | 3.389 | 2.513 | 2.34 | 97.51% | 93.13% | 2.49% | 9.19% | 0% to 5% | 5% to 10% | 7.42 | 1779 | 6.73 | 0.237 | 0.68 | 0
190 | KESCO | KANPUR CITY | CIRCLE II | KIDWAI NAGAR | BABUPURWA_50058 | ANAND PURI_51333410058ANA | TEHSIL | MIXED ABOVE 25% | 2.961 | 2.884 | 2.263 | 2.114 | 97.39% | 93.41% | 2.61% | 9.03% | 0% to 5% | 5% to 10% | 7.85 | 808 | 7.14 | 0.21 | 0.71 | 0
191 | KESCO | KANPUR CITY | CIRCLE III | JAJMAU | POKHARPUR_50082 | OMPURWA_51333320082OMP | URBAN | OTHER | 6.024 | 5.92 | 4.929 | 4.593 | 98.26% | 93.17% | 1.74% | 8.45% | 0% to 5% | 5% to 10% | 8.33 | 2404 | 7.62 | 0.424 | 0.7 | 0